## Data
Permit # is user entered, all other fields are extracted using the tool
[5 empty] | GENERAL HOUSE CHARACTERISTICS |  |  | HOUSE TEMPERATURES |  |  |  |  | WINDOW CHARACTERISTICS-South |  |  | WINDOW CHARACTERISTICS-East |  |  | WINDOW CHARACTERISTICS-North |  |  | WINDOW CHARACTERISTICS-West |  |  | Above grade fraction of | Building Parameter Details - Ceiling Components |  |  |  | Building Parameter Details - Main Wall Components | [21 empty] | Building Parameter Details - Exposed Floors | [5 empty] | Building Parameter Details - Doors | [5 empty] | Foundations | [5 empty] | Building Assembly Details-FLOORS ABOVE | Building Parameters Summary - Zone 1: Above grade | [23 empty] | Building Parameters Summary - Zone 2: Basement | [5 empty] | Air Leakage and Mechanical Ventilation |  |  | F326 Ventilation Requirements | [6 empty] | Central Ventilation System |  |  |  |  | NEW ERS VENTILATION DATA |  |  | AIR LEAKAGE AND MECHANICAL VENTILATION SUMMARY |  |  |  |  | SPACE HEATING SYSTEM |  |  | DOMESTIC WATER HEATING SYSTEM |  |  | ANNUAL DOMESTIC WATER HEATING SUMMARY |  |  |  |  | ANNUAL SPACE HEATING SUMMARY | [12 empty] | DESIGN SPACE HEATING AND COOLING LOADS |  | SPACE HEATING SYSTEM PERFORMANCE | [38 empty] | MONTHLY ESTIMATED ENERGY CONSUMPTION BY DEVICE (MJ)
Permit # | File Type | File | Date of entry | Company | Front orientation | Year House Built | Occupants | Daytime Setpoint (°C) | Nightime Setpoint (°C) | Nightime Setback Duration | Basement Setpoint (°C) | TEMP. Rise (°C) | South 1 Total Area (m^2) | South 1 Window RSI | South 1 SHGC | East 1 Total Area (m^2) | East 1 Window RSI | East 1 SHGC | North 1 Total Area (m^2) | North 1 Window RSI | North 1 SHGC | West 1 Total Area (m^2) | West 1 Window RSI | West 1 SHGC | wall area occupied by windows | Ceiling 1 Area (m^2) | Ceiling 1 RSI | Ceiling 2 Area (m^2) | Ceiling 2 RSI | Main Wall 1 Area (m^2) | Main Wall 1 RSI | Main Wall 2 Area (m^2) | Main Wall 2 RSI | Main Wall 3 Area (m^2) | Main Wall 3 RSI | Main Wall 4 Area (m^2) | Main Wall 4 RSI | Main Wall 5 Area (m^2) | Main Wall 5 RSI | Main Wall 6 Area (m^2) | Main Wall 6 RSI | Main Wall 7 Area (m^2) | Main Wall 7 RSI | Main Wall 8 Area (m^2) | Main Wall 8 RSI | Main Wall 9 Area (m^2) | Main Wall 9 RSI | Main Wall 10 Area (m^2) | Main Wall 10 RSI | Main Wall 11 Area (m^2) | Main Wall 11 RSI | Exposed Floors 1 Area (m^2) | Exposed Floors 1 RSI | Exposed Floors 2 Area (m^2) | Exposed Floors 2 RSI | Exposed Floors 3 Area (m^2) | Exposed Floors 3 RSI | Doors 1 Area (m^2) | Doors 1 RSI | Doors 2 Area (m^2) | Doors 2 RSI | Doors 3 Area (m^2) | Doors 3 RSI | Interior wall type Type - 1 | Interior wall type R-Value RSI - 1 | Exterior wall type Type - 1 | Exterior wall type R-Value RSI - 1 | Added to slab type R-Value RSI - 1 | Floors Above Found. R-Value RSI - 1 | FLOORS ABOVE 1 Effective (RSI) | Ceiling Area Net (m^2) | Ceiling Effective (RSI) | Ceiling Heat Loss (MJ) | Main Walls Area Net (m^2) | Main Walls Effective (RSI) | Main Walls Heat Loss (MJ) | Doors Area Net (m^2) | Doors Effective (RSI) | Doors Heat Loss (MJ) | Exposed floors Area Net (m^2) | Exposed floors Effective (RSI) | Exposed floors Heat Loss (MJ) | South Windows Area Net (m^2) | South Windows Effective (RSI) | South Windows Heat Loss (MJ) | East Windows Area Net (m^2) | East Windows Effective (RSI) | East Windows Heat Loss (MJ) | North Windows Area Net (m^2) | North Windows Effective (RSI) | North Windows Heat Loss (MJ) | West Windows Area Net (m^2) | West Windows Effective (RSI) | West Windows Heat Loss (MJ) | Walls above grade Area Net (m^2) | Walls above grade Effective (RSI) | Walls above grade Heat Loss (MJ) | Below grade foundation Area Net (m^2) | Below grade foundation Effective (RSI) | Below grade foundation Heat Loss (MJ) | House Volume (m^3) | Heat Loss (MJ) | Air Leakage Test Results at 50 Pa. | Kitchen, Living Room, Dining Room | Utility Room | Bedroom | Bedroom 2 | Bathroom | Other | Basement Rooms | System Type | Fan and Preheater Power at 0.0 °C | Fan and Preheater Power at -25.0 °C | Sensible Heat Recovery Efficiency at 0.0 °C | Sensible Heat Recovery Efficiency at -25.0 °C | Air Distribution/circulation type | Air Distribution/circulation fan power | Operation schedule | Gross Air Leakage and Mechanical Ventilation Energy Load (MJ) | Seasonal Heat Recovery Ventilator Efficiency | Estimated Ventilation Electrical Load Heating Hours (MJ) | Estimated Ventilation Electrical Load Non-Heating Hours (MJ) | Net Air Leakage and Mechanical Ventilation Load (MJ) | PRIMARY Heating Fuel | AFUE | High Speed Fan Power | PRIMARY Water Heating Fuel | Water Heating Equipment | Energy Factor | Daily Hot Water Consumption (Litres) | Hot Water Temperature (°C) | Estimated Domestic Water Heating Load (MJ) | Primary Domestic Water Heating Energy Consumption (MJ) | Primary System Seasonal Efficiency | Gross Space Heat Loss (MJ) | Gross Space Heating Load (MJ) | Usable Internal Gains (MJ) | Usable Internal Gains Fraction | Usable Solar Gains (MJ) | Usable Solar Gains Fraction | Auxilary Energy Required (MJ) | Space Heating System Load (MJ) | Heat Pump and Furnace Annual COP | Heat Pump Annual Energy Consumption MJ | Furnace/Boiler Seasonal efficiency | Furnace/Boiler Annual Energy Consumption MJ | Annual Space Heating Energy Consumption (MJ) | Design Heat Loss* (Watts) | Design Cooling Load* for July (Watts) | Jan Space Heating Load (MJ) | Jan Furnace Input (MJ) | Jan System COP | Feb Space Heating Load (MJ) | Feb Furnace Input (MJ) | Feb System COP | Mar Space Heating Load (MJ) | Mar Furnace Input (MJ) | Mar System COP | Apr Space Heating Load (MJ) | Apr Furnace Input (MJ) | Apr System COP | May Space Heating Load (MJ) | May Furnace Input (MJ) | May System COP | Jun Space Heating Load (MJ) | Jun Furnace Input (MJ) | Jun System COP | Jul Space Heating Load (MJ) | Jul Furnace Input (MJ) | Jul System COP | Aug Space Heating Load (MJ) | Aug Furnace Input (MJ) | Aug System COP | Sep Space Heating Load (MJ) | Sep Furnace Input (MJ) | Sep System COP | Oct Space Heating Load (MJ) | Oct Furnace Input (MJ) | Oct System COP | Nov Space Heating Load (MJ) | Nov Furnace Input (MJ) | Nov System COP | Dec Space Heating Load (MJ) | Dec Furnace Input (MJ) | Dec System COP | Ann Space Heating Load (MJ) | Ann Furnace Input (MJ) | Ann System COP | Jan Space Heating Primary | Jan Space Heating Secondary | Jan DHW Heating Primary | Jan DHW Heating Secondary | Jan Lights & Appliances | Jan HRV & FANS | Jan Air Conditioner | Feb Space Heating Primary | Feb Space Heating Secondary | Feb DHW Heating Primary | Feb DHW Heating Secondary | Feb Lights & Appliances | Feb HRV & FANS | Feb Air Conditioner | Mar Space Heating Primary | Mar Space Heating Secondary | Mar DHW Heating Primary | Mar DHW Heating Secondary | Mar Lights & Appliances | Mar HRV & FANS | Mar Air Conditioner | Apr Space Heating Primary | Apr Space Heating Secondary | Apr DHW Heating Primary | Apr DHW Heating Secondary | Apr Lights & Appliances | Apr HRV & FANS | Apr Air Conditioner | May Space Heating Primary | May Space Heating Secondary | May DHW Heating Primary | May DHW Heating Secondary | May Lights & Appliances | May HRV & FANS | May Air Conditioner | Jun Space Heating Primary | Jun Space Heating Secondary | Jun DHW Heating Primary | Jun DHW Heating Secondary | Jun Lights & Appliances | Jun HRV & FANS | Jun Air Conditioner | Jul Space Heating Primary | Jul Space Heating Secondary | Jul DHW Heating Primary | Jul DHW Heating Secondary | Jul Lights & Appliances | Jul HRV & FANS | Jul Air Conditioner | Aug Space Heating Primary | Aug Space Heating Secondary | Aug DHW Heating Primary | Aug DHW Heating Secondary | Aug Lights & Appliances | Aug HRV & FANS | Aug Air Conditioner | Sep Space Heating Primary | Sep Space Heating Secondary | Sep DHW Heating Primary | Sep DHW Heating Secondary | Sep Lights & Appliances | Sep HRV & FANS | Sep Air Conditioner | Oct Space Heating Primary | Oct Space Heating Secondary | Oct DHW Heating Primary | Oct DHW Heating Secondary | Oct Lights & Appliances | Oct HRV & FANS | Oct Air Conditioner | Nov Space Heating Primary | Nov Space Heating Secondary | Nov DHW Heating Primary | Nov DHW Heating Secondary | Nov Lights & Appliances | Nov HRV & FANS | Nov Air Conditioner | Dec Space Heating Primary | Dec Space Heating Secondary | Dec DHW Heating Primary | Dec DHW Heating Secondary | Dec Lights & Appliances | Dec HRV & FANS | Dec Air Conditioner | Ann Space Heating Primary | Ann Space Heating Secondary | Ann DHW Heating Primary | Ann DHW Heating Secondary | Ann Lights & Appliances | Ann HRV & FANS | Ann Air Conditioner
| Proposed | WizardHouse_Test1.h2k House | 12/12/2023 |  | East | 2019 | 2 Adults for 50.0% of the time; 1 Children for 50.0% of the time; 0 Infants for 0.0% of the time; | 21.0 | 21.0 | 8.0 Hours | 19.0 | 5.5 | 11.34 | 0.626 | 0.3404 | 11.34 | 0.626 | 0.3404 | 11.34 | 0.626 | 0.3404 | 11.34 | 0.626 | 0.3404 | 17.0 % | 99.36 | 10.43 | 12.08 | 10.43 | 13.38 | 3.08 | 11.83 | 3.08 | 20.62 | 3.08 | 45.60 | 3.08 | 45.73 | 3.08 | 58.52 | 3.08 | 17.29 | 3.40 | 12.39 | 3.08 | 7.16 | 3.08 | 1.90 | 3.40 | 12.68 | 3.08 | 2.51 | 5.02 | 33.03 | 5.34 | 0.93 | 5.02 | 2.61 | 0.63 | 2.27 | 0.63 | 1.77 | 0.95 | User specified | 3.46 | User specified | 0.00 | 0.00 | 0.74 | 0.74 | 111.44 | 10.43 | 5328.17 | 195.11 | 3.11 | 34280.87 | 6.64 | 0.67 | 5785.87 | 36.47 | 5.31 | 3644.72 | 11.34 | 0.63 | 10516.86 | 11.34 | 0.63 | 10516.83 | 11.34 | 0.63 | 10516.86 | 11.34 | 0.63 | 10516.86 | 19.39 | 0.00 | 4242.63 | 140.93 | 0.00 | 17813.70 | 679.00 | 35957.297 | 2.50 ACH | 3 rooms @ 5.0 L/s:15.0 L/s | 1 rooms @ 5.0 L/s:5.0 L/s | 1 rooms @ 10.0 L/s:10.0 L/s | 2 rooms @ 5.0 L/s:10.0 L/s | 3 rooms @ 5.0 L/s:15.0 L/s | 1 rooms @ 5.0 L/s:5.0 L/s | 0.0 L/s | [5 empty] | Forced air heating ductwork | 0.00 Watts | 480.00 min/day | 34348.445 | 0.000 % | 0.0 | 0.0 | 35957.297 | Natural Gas | 92.00 | 310 watts | Natural gas | Instantaneous | 0.800 | 192.7 | 55.0 | 14649.000 | 18010.000 | 81.3% | 149121.000 | 149121.000 | 26603.000 | 17.8 % | 27573.000 | 18.5 % | 94945.000 | 94945.000 |  |  | 94.0 % | 99176.000 |  | 14437.0 | 3867.0 | 18255.9 | 19069.7 | 0.940 | 14617.1 | 15268.6 | 0.940 | 12210.5 | 12754.8 | 0.940 | 6383.3 | 6667.9 | 0.940 | 2416.2 | 2523.9 | 0.940 | 565.6 | 590.8 | 0.940 | 11.3 | 11.8 | 0.940 | 301.9 | 315.3 | 0.940 | 2408.9 | 2516.3 | 0.940 | 6961.4 | 7271.7 | 0.940 | 12718.1 | 13285.0 | 0.940 | 18094.4 | 18900.3 | 0.940 | 94944.6 | 99176.1 | 0.940 | 19069.7 | 0.0 | 1601.7 | 0.0 | 2176.2 | 431.7 | 0.0 | 15268.6 | 0.0 | 1456.7 | 0.0 | 1965.6 | 354.3 | 0.0 | 12754.8 | 0.0 | 1601.7 | 0.0 | 2176.2 | 316.6 | 0.0 | 6667.9 | 0.0 | 1520.7 | 0.0 | 2106.0 | 203.0 | 0.0 | 2523.9 | 0.0 | 1530.1 | 0.0 | 2176.2 | 130.2 | 0.0 | 590.8 | 0.0 | 1440.7 | 0.0 | 2106.0 | 92.3 | 0.0 | 11.8 | 0.0 | 1458.4 | 0.0 | 2176.2 | 84.5 | 0.0 | 315.3 | 0.0 | 1447.4 | 0.0 | 2176.2 | 90.0 | 0.0 | 2516.3 | 0.0 | 1411.4 | 0.0 | 2106.0 | 127.4 | 0.0 | 7271.7 | 0.0 | 1488.7 | 0.0 | 2176.2 | 216.7 | 0.0 | 13285.0 | 0.0 | 1480.7 | 0.0 | 2106.0 | 323.6 | 0.0 | 18900.3 | 0.0 | 1571.4 | 0.0 | 2176.2 | 428.6 | 0.0 | 99176.1 | 0.0 | 18009.5 | 0.0 | 25622.6 | 2799.0 | 0.0